## Slide 1
Instrument Control Requirements
Ability to set joint limits in individual instruments
Independent scaling factors for instruments in orientation and grip
  Roll
  Pitch
  Yaw
  Grip open
  Grip closing angle
Model and tool frame and “hand control” according to instrument
Instrument control logic and parameters (Yaw, Pitch & Grip) independent of actuators (separate parameters depending upon actuator to achieve the motion and force requirements)
Date: 12-05-2024

## Slide 2
Mechanism Type: Working mechanism
Parameters: Dimensions and arrangement of
  Links
  Joints
  Pulleys
  cables etc.
Specifications
  Joint limits
    Roll (min, max)
    Pitch (min, max)
    Yaw (min, max)
    Grip (max)
  Grip force
  Any other constraints
Input shaping / scaling for changing sensitivity
Inverse Kinematics Flow Chart (Process Output): For calculating actuator commands.

## Slide 3
Forward Kinematics Flow Chart (Process Input): For Visualization and feedback, during disable / enable
Mechanism Type: Working mechanism
Parameters: Dimensions and arrangement of
  Links
  Joints
  Pulleys
  cables etc.
Specifications
  Joint limits
    Roll (min, max)
    Pitch (min, max)
    Yaw (min, max)
    Grip (max)
  Grip force
  Any other constraints
Input shaping / scaling for changing sensitivity

## Slide 4
Input Shaping Flow Chart (Process Output & Input) : For Limiting, scaling / manipulating user command
Mechanism Type: Working mechanism
Parameters: Dimensions and arrangement of
  Links
  Joints
  Pulleys
  cables etc.
Specifications
  Joint limits
    Roll (min, max)
    Pitch (min, max)
    Yaw (min, max)
    Grip (max)
  Grip force
  Any other constraints
Input shaping / scaling for changing sensitivity

## Slide 5
Instrument Control Flow Chart
Mechanism Type: Working mechanism
Parameters: Dimensions and arrangement of
  Links
  Joints
  Pulleys
  cables etc.
Specifications
  Joint limits
    Roll (min, max)
    Pitch (min, max)
    Yaw (min, max)
    Grip (max)
  Grip force
  Any other constraints
Input shaping / scaling for changing sensitivity